## Feuille 1
| NOMBRE EQUIPEMENT/ETAGE | [14 empty] | CALCUL EQUIPEMENT
Colonne 1 | SS5 | SS4 | SS3 | SS2 | SS1 | RDC | ET1 | ET2 | ET3 | ET4 | ET5 | ET6 | TOTAL |  | Colonne 1 | étage | rdc | ss | TOTAL |  | Cable | switch loin | switch proche | switch core | routeur
SÉCURITÉ INCENDIE | [14 empty] | borne wifi | 72 | 6 | 9 | 87 |  | switch | cat 7 | cat 6 | OM5 | -
Détecteur automatique d’incendie (SGX) | 11 | 13 | 19 | 18 | 43 | 30 | 17 | 27 | 26 | 27 | 22 | 10 | 263 |  | switch core | 0 | 0 | 2 | 2 |  | routeur | - | - | DAC / OM5 | OM5
Déclencheur Manuel Incendie | 2 | 2 | 2 | 1 | 1 | 8 | 6 | 5 | 5 | 4 | 4 | 5 | 45 | [7 empty] | switch core | OM5 | OM5 | LACP OM5/ VSX | OM5/ VSX
Diffuseur sonore | 0 | 2 | 4 | 3 | 5 | 4 | 0 | 11 | 11 | 11 | 10 | 1 | 62
Diffuseur sonore avec message préenregistré | 0 | 0 | 0 | 3 | 8 | 5 | 9 | 0 | 0 | 0 | 0 | 5 | 30
Flash lumineux | 0 | 0 | 0 | 5 | 9 | 0 | 18 | 21 | 21 | 21 | 18 | 10 | 123 |  |  | CALCUL SWITCH L2
Détecteur Flamme | 0 | 0 | 0 | 0 | 2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2 |  | Colonne 1 | SS5 | SS4 | SS3 | SS2 | SS1 | RDC | ET1 | ET2 | ET3 | ET4 | ET5 | ET6 | TOTAL
Détecteur Linéaire Émetteur Récepteur | 0 | 0 | 0 | 0 | 2 | 2 | 0 | 0 | 0 | 0 | 0 | 0 | 4 |  | 24p | 1 | 0 | 0 | 0 | 1 | 1 | 0 | 1 | 1 | 1 | 1 | 1 | 8
CONTRÔLE D'ACCÈS ET INTRUSION | [14 empty] | 48p | 0 | 1 | 1 | 1 | 2 | 3 | 2 | 2 | 2 | 2 | 2 | 1 | 19
Lecteur de badge | 0 | 0 | 1 | 0 | 0 | 17 | 0 | 0 | 0 | 0 | 0 | 0 | 18
Lecteur de badge Embarqué (ASC) | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | MODELE | modèle
Lecteur de badge en mesure conservatoire | 0 | 0 | 1 | 1 | 1 | 1 | 6 | 6 | 6 | 7 | 8 | 4 | 41 |  | switch | Aruba CX 6100 48/24
Détecteur d'ouverture de Porte (DOP) | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | borne wifi | Aruba AP-635
Détecteur Bris de Vitre (DBV) | 0 | 0 | 0 | 0 | 0 | 7 | 0 | 0 | 0 | 0 | 0 | 0 | 7 |  | switch core | Aruba CX 6300
Détecteur d'intrusion Radar (int.) | 0 | 0 | 0 | 0 | 7 | 6 | 0 | 0 | 0 | 0 | 0 | 0 | 13
Vidéophone / Vidéophone Maître (int.) | 0 | 0 | 2 | 0 | 0 | 6 | 0 | 0 | 0 | 0 | 0 | 0 | 8
Lecteur de badge UHF | 0 | 0 | 0 | 0 | 1 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 2 |  | DOCUMENTATION
VIDÉOSURVEILLANCE | [14 empty] | Schémas physique | https://github.com/MaoenD/Projet_R-seau
Caméra Fixe (Extérieur) | 0 | 0 | 0 | 0 | 5 | 4 | 0 | 0 | 0 | 0 | 0 | 0 | 9 |  | Brochure | Brochure sur les produits et solutions HPE Aruba Networking
Caméra Fixe (Intérieur) | 0 | 2 | 0 | 0 | 0 | 9 | 2 | 0 | 0 | 0 | 0 | 0 | 13 |  | docu switch 48p | https://www.hpe.com/psnow/doc/PSN1013152646FRFR.pdf?jumpid=in_pdp-psnow-dds
VDI | [14 empty] | docu switch 24p | HPE Aruba Networking CX 6100 24G Class4 PoE 4SFP+ 370W Switch Digital Data Sheet
Boîte de sol VDI | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | docu wifi | https://www.hpe.com/psnow/doc/PSN1013609618FRFR?jumpid=in_hpesitesearch
1 Prise RJ45 / 2 Prise RJ45 | 0 | 0 | 0 | 0 | 0 | 16 | 0 | 0 | 0 | 0 | 0 | 0 | 16 |  | docu core | HPE Aruba Networking CX 6300 Switch Series
1 Prise RJ45, Plafond | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
HP_Encastré Plafond | 0 | 0 | 0 | 0 | 0 | 5 | 0 | 0 | 0 | 0 | 0 | 0 | 5
GSM
Borne Wifi Plafond | 2 | 2 | 1 | 4 | 0 | 6 | 0 | 0 | 0 | 0 | 0 | 0 | 15
Borne Wifi Bureau | 0 | 0 | 0 | 0 | 0 | 0 | 12 | 12 | 12 | 12 | 12 | 12 | 72
GTC
Module Gestion Confort | 0 | 0 | 0 | 0 | 0 | 0 | 60 | 82 | 82 | 82 | 70 | 29 | 405
Total par étage | 15 | 21 | 30 | 35 | 84 | 127 | 70 | 82 | 81 | 82 | 74 | 47 | 748
3
MATRICE
0
VLAN | Accès à internet | Accessible | autres VLAN | imprimantes | Subnet IP | CIDR | ET1: Nombre d’adresses; ET2: Protocoles Autorisés |  |  | Nombre appareils connectés
RH | X |  |  | X | 10.0.0.0 | /23 | ET1: 510; ET2: HTTP/HTTPS, DNS, SMB/IPP |  |  | 300
Comptabilité | X |  |  | X | 10.0.2.0 | /23 | ET1: 510; ET2: HTTP/HTTPS, DNS, SMB/IPP |  |  | 300
Design | X |  |  | X | 10.0.4.0 | /23 | ET1: 510; ET2: HTTP/HTTPS, DNS, SMB/IPP |  |  | 300
Logistique | X |  |  | X | 10.0.6.0 | /23 | ET1: 510; ET2: HTTP/HTTPS, DNS, SMB/IPP |  |  | 300
Imprimantes | X | X |  | X | 10.0.8.0 | /23 | ET1: 510; ET2: SMB, IPP, HTTP/HTTPS |  |  | 300
Direction | X |  | X | X | 10.0.10.0 | /23 | ET1: 510; ET2: HTTP/HTTPS, DNS, SMB/IPP, RDP, SNMP |  |  | 300
DSI | X |  | X | X | 10.0.12.0 | /23 | ET1: 510; ET2: HTTP/HTTPS, DNS, SMB/IPP, RDP, SSH, SNMP, Syslog, ICMP, LDAP, RADIUS, NTP, RTSP, Modbus/TCP |  |  | 300
R&D | X |  |  | X | 10.0.14.0 | /23 | ET1: 510; ET2: HTTP/HTTPS, DNS, SMB/IPP, Git, SSH |  |  | 300
Dev | X |  | X | X | 10.0.16.0 | /23 | ET1: 510; ET2: HTTP/HTTPS, DNS, SMB/IPP, Git, SSH, RDP, VDI |  |  | 300
Data | X | X | X | X | 10.0.18.0 | /23 | ET1: 510; ET2: HTTP/HTTPS, DNS, SMB/IPP, RDP, SSH, SQL, SNMP, BACnet, Modbus/TCP |  |  | 300
Conception | X |  |  | X | 10.0.20.0 | /23 | ET1: 510; ET2: HTTP/HTTPS, DNS, SMB/IPP |  |  | 300
Invités Wi-Fi | X |  |  |  | 10.0.22.0 | /23 | ET1: 510; ET2: HTTP/HTTPS, DNS |  |  | 300
Contrôle d'accès, Détection intrusion et vidéophonie |  |  |  |  | 10.0.25.0 | /25 | ET1: 126; ET2: RSTP, HTTPS, Syslog |  |  | 89
Sécurité Incendie | X |  |  |  | 10.0.28.0 | /22 | ET1: 1022; ET2: HTTPS, Syslog |  |  | 529
Vidéosurveillance |  |  |  |  | 10.0.32.0 | /27 | ET1: 30; ET2: RSTP, HTTPS, Syslog |  |  | 22
Système audio |  |  |  |  | 10.0.32.32 | /28 | ET1: 14; ET2: HTTPS |  |  | 5
Gestion batiment | X |  | X | X | 10.0.34.0 | /23 | ET1: 510; ET2: HTTP/HTTPS, SNMP, Syslog, RADIUS, NTP, RTSP, Modbus/TCP, BACnet/IP |  |  | 300
VIDE |  |  |  |  | 10.0.36.0 | /23 | ET1: 510; ET2: - |  |  | -
VIDE |  |  |  |  | 10.0.38.0 | /23 | ET1: 510; ET2: - |  |  | -
VIDE |  |  |  |  | 10.0.40.0 | /23 | ET1: 510; ET2: - |  |  | -
VIDE |  |  |  |  | 10.0.42.0 | /23 | ET1: 510; ET2: - |  |  | -
VLAN | Accès à
DSI | Tous les VLANS
Direction | Sélectif : RH, DSI, Data
Data | DSI, Dev
Dev | Data
Gestion batiment | VS, DI,SI
|  | CALCUL POE | [12 empty] | CALCUL BANDE PASSANTE
Colonne 1 | SS5 | SS4 | SS3 | SS2 | SS1 | RDC | ET1 | ET2 | ET3 | ET4 | ET5 | ET6 |  | Colonne 1 | SS5 | SS4 | SS3 | SS2 | SS1 | RDC | ET1 | ET2 | ET3 | ET4 | ET5 | ET6 | Colonne 2
SÉCURITÉ INCENDIE | [13 empty] | SÉCURITÉ INCENDIE
Détecteur automatique d’incendie (SGX) | 22 | 26 | 38 | 36 | 86 | 60 | 34 | 54 | 52 | 54 | 44 | 20 |  | Détecteur automatique d’incendie (SGX) | 11 | 13 | 19 | 18 | 43 | 30 | 17 | 27 | 26 | 27 | 22 | 10
Déclencheur Manuel Incendie | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | Déclencheur Manuel Incendie | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Diffuseur sonore | 0 | 10 | 20 | 15 | 25 | 20 | 0 | 55 | 55 | 55 | 50 | 5 |  | Diffuseur sonore | 0 | 2 | 4 | 3 | 5 | 4 | 0 | 11 | 11 | 11 | 10 | 1
Diffuseur sonore avec message préenregistré | 0 | 0 | 0 | 21 | 56 | 35 | 63 | 0 | 0 | 0 | 0 | 35 |  | Diffuseur sonore avec message préenregistré | 0 | 20 | 40 | 30 | 50 | 40 | 0 | 110 | 110 | 110 | 100 | 10
Flash lumineux | 0 | 0 | 0 | 15 | 27 | 0 | 54 | 63 | 63 | 63 | 54 | 30 |  | Flash lumineux | 0 | 0 | 0 | 0.3 | 0.8 | 0.5 | 0.9 | 0 | 0 | 0 | 0 | 0.5
Détecteur Flamme | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | Détecteur Flamme | 0 | 0 | 0 | 5 | 9 | 0 | 18 | 21 | 21 | 21 | 18 | 10
Détecteur Linéaire Émetteur Récepteur | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | Détecteur Linéaire Émetteur Récepteur | 0 | 0 | 0 | 0 | 0.2 | 0 | 0 | 0 | 0 | 0 | 0 | 0
CONTRÔLE D'ACCÈS ET INTRUSION | [13 empty] | CONTRÔLE D'ACCÈS ET INTRUSION
Lecteur de badge | 0 | 0 | 4 | 0 | 0 | 68 | 0 | 0 | 0 | 0 | 0 | 0 |  | Lecteur de badge | 0 | 0 | 0.1 | 0 | 0 | 1.7 | 0 | 0 | 0 | 0 | 0 | 0
Lecteur de badge Embarqué (ASC) | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | Lecteur de badge Embarqué (ASC) | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Lecteur de badge en mesure conservatoire | 0 | 0 | 1 | 1 | 1 | 1 | 6 | 6 | 6 | 7 | 8 | 4 |  | Lecteur de badge en mesure conservatoire | 0 | 0 | 0.1 | 0.1 | 0.1 | 0.1 | 0.6 | 0.6 | 0.6 | 0.7 | 0.8 | 0.4
Détecteur d'ouverture de Porte (DOP) | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | Détecteur d'ouverture de Porte (DOP) | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Détecteur Bris de Vitre (DBV) | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | Détecteur Bris de Vitre (DBV) | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Détecteur d'intrusion Radar (int.) | 0 | 0 | 0 | 0 | 35 | 30 | 0 | 0 | 0 | 0 | 0 | 0 |  | Détecteur d'intrusion Radar (int.) | 0 | 0 | 0 | 0 | 0.7 | 0.6 | 0 | 0 | 0 | 0 | 0 | 0
Vidéophone / Vidéophone Maître (int.) | 0 | 0 | 20 | 0 | 0 | 60 | 0 | 0 | 0 | 0 | 0 | 0 |  | Vidéophone / Vidéophone Maître (int.) | 0 | 0 | 20 | 0 | 0 | 60 | 0 | 0 | 0 | 0 | 0 | 0
Lecteur de badge UHF | 0 | 0 | 0 | 0 | 7 | 7 | 0 | 0 | 0 | 0 | 0 | 0 |  | Lecteur de badge UHF | 0 | 0 | 0 | 0 | 1 | 1 | 0 | 0 | 0 | 0 | 0 | 0
VIDÉOSURVEILLANCE | [13 empty] | VIDÉOSURVEILLANCE
Caméra Fixe (Extérieur) | 0 | 0 | 0 | 0 | 50 | 40 | 0 | 0 | 0 | 0 | 0 | 0 |  | Caméra Fixe (Extérieur) | 0 | 0 | 0 | 0 | 20 | 16 | 0 | 0 | 0 | 0 | 0 | 0
Caméra Fixe (Intérieur) | 0 | 16 | 0 | 0 | 0 | 72 | 16 | 0 | 0 | 0 | 0 | 0 |  | Caméra Fixe (Intérieur) | 0 | 4 | 0 | 0 | 0 | 18 | 4 | 0 | 0 | 0 | 0 | 0
VDI | [13 empty] | VDI
Boîte de sol VDI | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | Boîte de sol VDI | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
1 Prise RJ45 / 2 Prise RJ45 | 0 | 0 | 0 | 0 | 0 | 16 | 0 | 0 | 0 | 0 | 0 | 0 |  | 1 Prise RJ45 / 2 Prise RJ45 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
1 Prise RJ45, Plafond | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 1 Prise RJ45, Plafond | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
HP_Encastré Plafond | 0 | 0 | 0 | 0 | 0 | 35 | 0 | 0 | 0 | 0 | 0 | 0 |  | HP_Encastré Plafond | 0 | 0 | 0 | 0 | 0 | 0.64 | 0 | 0 | 0 | 0 | 0 | 0
GSM | [13 empty] | GSM
Borne Wifi Plafond | 51 | 51 | 25.5 | 102 | 0 | 153 | 0 | 0 | 0 | 0 | 0 | 0 |  | Borne Wifi Plafond | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Borne Wifi Bureau | 0 | 0 | 0 | 0 | 0 | 0 | 306 | 306 | 306 | 306 | 306 | 306 |  | Borne Wifi Bureau | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
GTC | [13 empty] | GTC
Module Gestion Confort | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | Module Gestion Confort | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Total par étage | 73 | 103 | 108.5 | 190 | 287 | 597 | 479 | 484 | 482 | 485 | 462 | 400 |  | Total par étage en Mbps | 11 | 39 | 83.2 | 56.4 | 129.8 | 172.54 | 40.5 | 169.6 | 168.6 | 169.7 | 150.8 | 31.9 | 1223.04
CALCUL COUT
Matériel | Line# | Part Number | Description |  |  | Manufacturer |  | Unit Price | Quantity | Sub Total | Discount | Total | Price List | Total/équipement |  |  | CALCUL TEMPS/COUTS CONFIG
Switch L2 48p | 1.0 | R9Y04A | HPE Aruba Networking CX 6100 48G Class4 PoE 4SFP+ 740W Switch |  |  | Hewlett Packard Enterprise |  | 8037 | 19 | 152703 | 60% | 61081.2 | France Price List (EUR) | 70193.6 |  | matériel | quantité | temps | total | cout heure | Total
| 1.1 | R9Y04A ABB | INCLUDED: Power Cord - Europe localization |  |  | Hewlett Packard Enterprise | ET2: incl.; ET3: 19 |  |  |  | l2 | 7 | 0:20 | 2:20 | 60 | 140
| 1.2 | H83A5E | Aruba 3Y FC NBD Exch 6100 48G CL4 4SFP+ 740W SVC [for R9Y04A] |  |  | Hewlett Packard Enterprise |  | 1199 | 19 | 22781 | 60% | 9112.4 | France Price List (EUR) |  |  | l2 to core | 20 | 0:25 | 8:20 | 60 | 500
switch l2 24p | 2.0 | JL677A | HPE Aruba Networking CX 6100 24G Class4 PoE 4SFP+ 370W Switch |  |  | Hewlett Packard Enterprise |  | 3513 | 8 | 28104 | 60% | 11241.6 | France Price List (EUR) | 12854.4 |  | core | 4 | 1:45 | 7:00 | 60 | 420
| 2.1 | JL677A ABB | INCLUDED: Power Cord - Europe localization |  |  | Hewlett Packard Enterprise | ET2: incl.; ET3: 8 |  |  |  | TOTAL | 31 | 2:30 | 17:40 | 60 | 1060
| 2.2 | HV1M2E | Aruba 3Y FC NBD Exch 6100 24G CL4 SVC [for JL677A] |  |  | Hewlett Packard Enterprise |  | 504 | 8 | 4032 | 60% | 1612.8 | France Price List (EUR)
Switch L3 | 3,0 | JL658A | HPE Aruba Networking CX 6300M 24-port SFP+ and 4-port SFP56 Switch |  |  | Hewlett Packard Enterprise |  | 20097 | 3 | 60291 | 60% | 24116.4 | France Price List (EUR) | 27978
| 3,1 | HR4C2E | Aruba 3Y FC NBD Exch 6300M 24SFP SVC [for JL658A] |  |  | Hewlett Packard Enterprise |  | 2562 | 3 | 7686 | 60% | 3074.4 | France Price List (EUR)
| 3,2 | JL085A | HPE Aruba Networking X371 12VDC 250W 100-240VAC Power Supply |  |  | Hewlett Packard Enterprise |  | 656 | 3 | 1968 | 60% | 787.2 | France Price List (EUR)
| 3,3 | JL085A ABB | INCLUDED: Power Cord - Europe localization |  |  | Hewlett Packard Enterprise | ET2: incl.; ET3: 3
Borne WIFI | 4,0 | R7J27A | HPE Aruba Networking AP-635 (RW) Tri-radio 2x2 802.11ax Wi-Fi 6E Internal Antennas Campus AP |  |  | Hewlett Packard Enterprise |  | 1582 | 87 | 137634 | 60% | 55053.6 | France Price List (EUR) | 61804.8
| 4,1 | H29YFE | Aruba 3Y FC NBD Exch AP-635 SVC [for R7J27A] |  |  | Hewlett Packard Enterprise |  | 194 | 87 | 16878 | 60% | 6751.2 | France Price List (EUR)
Service supplémentaire | 5,0 | Q9Y60AAE | HPE Aruba Networking Central AP Foundation 5-year Subscription E-STU |  |  | Hewlett Packard Enterprise |  | 473 | 117 | 55341 | 60% | 22136.4 | France Price List (EUR) | 22136.4
Configuration | 6,0 |  | configuration switch L2, L3 |  |  |  |  | 60 | 17:40 | 1060 |  | 1060 | France Price List (EUR) | 1060
[13 empty] | TOTAL | 194967.2